Completing Your Specification 

For An 

Architectural Grade Classroom Greenhouse

(Level IV)

At this point you should have already made these decisions:

· Level of greenhouse

· Architectural Style

· Frames finish

· Glazing selection

· Decisions on optional equipment

Instructions:

Step 1. Select your desired specification, Level I, II, III or IV. Open the appropriate file and begin creating your specification. 

Step 2. [Script highlighted in RED and enclosed in brackets are intended to be instructions for that portion of the specifications]. After completing the task, which usually requires making a selection, delete the red script from the specification.

Step 3. Scripts highlighted in BLUE are selection items. Change the item you want to use to BLACK text and delete all the other blue text in that area of the specification.
Step 4. Add the project name at the top of each page and the correct page numbering system at the bottom.

Step 5. Refer to the VALUE ENGINEERING sections to assist you in creating a greenhouse using our standard styles, sizes and dimensions.

Step 6. Delete this page from your new specification and copy and paste it into you master specifications. 

Please call Crystal Structures/Sunshine Rooms at 1-800-222-1598, ext. 108 for equipment sizing and additional design assistance. Thank you!

- Continue to Specification –

SECTION 13 34 13.13
ARCHITECTURAL GRADE CLASSROOM GREENHOUSE

(Science and Research greenhouse, Level IV)
PART 1 - GENERAL
1.01 SECTION INCLUDES

A. Furnish and install a pre-fabricated, pre-engineered ALL ALUMINUM and glass structure designed to function as a classroom greenhouse.

B. Accessories and equipment

C. Glazing and gaskets

D. Sealants, caulking, joint fillers

E. Flashings

1.02 RELATED SECTIONS

A. Related construction materials and labor necessary in preparing the greenhouse site. This related work to be provided by other trades.

1. Section 02315 - Excavation

2. Section 03300 - Concrete

3. Section 04200 - Masonry

4. Division 23000 -Mechanical

5. Division 26000 - Electrical and control wiring

1.03  REFERENCES

A. Conform to the following codes, specifications and standards (where applicable).

1. American Architectural Manufacturers Association (AAMA)

2. Flat Glass Marketing Association (FGMA)

3. American National Standards Institute (ANSI)

4. National Greenhouse Manufactures Association (NGMA)

5. Insulating Glass Certification Council (IGCC)

6. International Conference of Building Officials (ICBO)

7. Building Officials & Code Administrators (BOCA)

8. Southern Building Code Congress International (SBCCI)

9. National Fenestration Rating Council (NFRC)

10. Safety Glazing Certification Council (SGCC)

11. National Sunroom Association (NSA)

1.04 WORK NOT INCLUDED

A. Electrical hook-up and control wiring of accessories within the greenhouse.  

B. Coverings to protect greenhouse from the surrounding trades after greenhouse is complete.

C. Plumbing related items necessary to operate equipment and accessories such as gas lines and flues, water supply and drain lines, etc. 

D. Training, unless noted otherwise within this section.

1.05 PERFORMANCE AND DESIGN REQUIREMENTS

A. Maximum Allowable Deflection – All load bearing members under any design load combination (including dead load) shall not exceed L/175 of its clear span.  

B. Structural Performance Requirements include providing a certified engineering report and calculations on the system performed by a professional engineer that is licensed with the appropriate State. All reports and calculations shall be stamped accordingly.

C. Live/snow loads – Withstands vertical roof loads based on ICBO/BOCA/SBCCI guidelines. Structure must meet the design load requirements in accordance to the prevailing Commercial Building Codes in effect for the local area. In most, if not all areas these codes will supersede the traditional greenhouse building codes, which are not acceptable.

D. Air Infiltration – Supply certified testing reports adhering to the requirements set forth by ASTM-E283-4, 6.24 PSF and 300 Pa.

E. Static water resistance – Supply certified testing reports adhering to the requirements set forth by ASTM-E331, 20 PSF and 950 Pa.

F. Dynamic water resistance – Complies with testing per AAMA-501.1

G. Wind loading – Withstands wind loads based on ANSI-A58.1/ASCE-7 guidelines and 90 mph wind, exposure C per Uniform Building Code or local requirements, whichever is greater.
H. Provide a pre-engineered weepage system that collects condensation and directs it to the exterior of the greenhouse.

I. Aluminum framing system shall be thermally broken which will significantly reduce the transfer of heat and cold through the frame and reduce condensation on and within the framing members.

J. Glazing performance requirements - See Glazing selections within this specification.

K. LEED program /Green Design, using recycled aluminum content in excess of 60%.

1.06 SUBMITTALS

A. Submit [add quantity] _____ copies of shop drawings per Section 01300 to the Architect for review and approval prior to fabrication. Shop drawings to address the following items;

1. Product anchorage of framing members

2. Foundation layout guide (excluding foundation design or engineering)

3. Framing connection and details

4. Glazing methods and sealing procedures

5. Flashings 

6. Special  adaptations of systems to specific project requirements

B. Manufacturer’s product data sheets specifying products, features, details, and usage. 

C. Data sheets for all accessories used within the greenhouse (i.e. fans, shades, coolers, and heaters).

D. Submit [add quantity] _____ product samples as follows;

1. Provide 12” x 12” glazing  samples

2. Structural framing members

3. Aluminum samples representing manufacturer’s standard aluminum finish colors.

1.07 DELIVERY, STORAGE, AND HANDLING

A. Deliver materials to jobsite freight prepaid.

B. Retain and leave intact all manufacturers’ packaging.

C. Take extra precautions when unloading and storing materials to protect all prefinished surfaces and all glazing materials.

D. Store off ground in a secure location that is a dry covered area and protected from weather conditions.

E. Inspect and report any freight damages immediately to the manufacturer.

1.08 WARRANTY

A. Provide complete manufacturer’s limited warranty agreement on the following materials.

1. Structural aluminum frame – 10 year limited warranty against manufactured defects and lifetime warranty on aluminum members against rust.

2. Frames finish  [SELECT ONE AND DELETE THE OTHERS]
a) PPG Acrylic Duracron (meets AAMA 2603)– Limited 5 years against fading, peeling and chalking
a) Class I Anodized finish (meets AAMA 611) – Limited 10 year against corrosion and finish deterioration
a) 2 Coat Fluoropolymer finish (meets AAMA 2605) – Limited 10 year warranty against peeling, fading and chalking

a) 3 Coat Fluoropolymer finish (meets AAMA 2605) – Limited 15 year warranty against peeling, fading and chalking

3. Installation – Limited one year warranty against defective workmanship.

4. Glazing – [SELECT GLASS OR POLYCARBONATE AND DELETE THE OTHER] 

a) Glass - Limited 20 year warranty against seal failure as per original manufacturer’s warranty 

a) Polycarbonate – Limited 10 year warranty against visible yellowing, per original manufacturer’s warranty.

B. Provide complete warranty information on all manufacturers providing accessories within the greenhouse (i.e. fans, coolers, heaters, shades, etc). These manufacturers to supply their standard warranty.

1.09 SCHEDULING AND COORDINATION

A. No concrete or other related construction (in the area) work shall commence until the shop drawings have been approved by the architect and general contractor. 

B. All related construction work such as foundations, knee walls, stem walls, door openings, etc. shall be governed by the approved shop drawings.

C. General contractor to coordinate and contract with all sub-contractors providing electrical, plumbing, HVAC, control wiring, etc. to the greenhouse.

D. Field dimensions will be obtained by general contractor or architect and forwarded to the greenhouse manufacturer. General contractor will be responsible for ensuring all job site dimensions will be built to the approved greenhouse shop drawings.

E. Coordinate all work through the general contractor.

1.010 QUALITY ASSURANCE
A. Manufacturer Qualifications: Company shall have at least 10 years of experience in the manufacturing and erection of architectural grade classroom greenhouses at similar size and scope as this project. Manufacturer will be responsible for the installation of the greenhouse.

B. Installer Qualifications: Installer shall have at least 5 years experience in the erecting of architectural grade classroom greenhouses at similar size and scope as this project. The installer will work directly for the manufacturer, providing the owner a single source provider.

PART 2 - PRODUCTS

2.01  ACCEPTABLE MANUFACTURERS – Product based on Crystal Structures model      

Grow-TECH Classroom Greenhouse, as provided by:

A. Crystal Structures, Commercial Division of Sunshine Rooms, Inc.
3333 N. Mead
Wichita, KS  67219  

1-800-222-1598 / 316-838-0033 / Fax 316-838-0839

www.sunshinerooms.com 

B. Substitution requests as per Section 01600.

2.02 
MATERIALS –

A. Structural Framing System

1. Structural Aluminum Members: Shall be extruded aluminum from 6061-T6 or 6005-T5 alloy, non-structural members shall be 6063-T5.

2. Structural frame shall be tubular in design and in a size allowing it to meet all design loads as outlined in the structural requirements of this specification.

3. Structural rafter spacing shall be 3’ 2-1/4” on center unless otherwise specified.

4. All interior horizontal aluminum members shall utilize poured and de-bridged thermal barrier technology using polyurethane as the thermal barrier. 

5. Exterior horizontal mullion assemblies shall not extend higher than 1/8” above the glazing.

6. Exterior “snap-on” bar cap covers shall cover the entire surface of the bar cap without seams, fasteners or joints. Exposed exterior fasteners are unacceptable.

7. Frame system shall incorporate a pre-engineered weepage system that is capable of collecting moisture and forcing it to the exterior of the greenhouse.

8. Primary vertical aluminum members shall have a built-in “accessory track” capable of accepting machine screws without drilling holes into the aluminum for the hanging and relocating of accessories. 

9. Primary vertical aluminum members shall incorporate built-in shade tracks that will allow the installation of a shade system without drilling holes into the aluminum and adding mounting hardware.

10. Internal structural stiffeners: In an effort to meet higher deign loads internal stiffeners will be allowed provided they have been pre-engineered and installed within the interior of the main rafters. Internal stiffeners shall be aluminum and the alloy shall be 6061-T6. “BOLT-ON” BEAMS OR OTHER MECHANICAL ENHANCMENTS WILL NOT BE ALLOWED.

11. Pan flashings to be a minimum of 0.04” thick and shall be in the same finish as the frame. Exterior flashings in excess of 6” wide will be increased to a minimum thickness of 0.063” and in the same finish as the frame.

B. Gaskets, Glazing Tape and Setting Blocks

1. Gaskets shall be EPDM or Santoprene with a 60-70 durometer and compatible with all materials it comes in contact with. 

2. Gaskets shall comply with the ASTM-C-864 standards.

3. Gaskets to be multi-finned style designed to significantly reduce water penetration.

4. Glazing tape shall be closed cell, PVC foam with double-sided acrylic adhesive.

5. Glass setting blocks shall be made of EPDM or Santoprene and be compatible with [Select one] insulated glass / polycarbonate.
C. Fasteners

1. All connections shall be made with 18-8 stainless steel fasteners, meeting ASTM standard A276.

2. Anchor bolts shall be 18-8 stainless steel and shall be identified in detail in the job specific shop drawings and engineering reports.  Anchor bolts shall not penetrate the sub-sill flashing provided by the manufacturer.

3. Exposed fasteners should be avoided wherever possible; if necessary they shall be painted to match the system’s frame. 
D. Silicone Sealant

1. Areas within the glazing area.

a. Silicone sealant shall meet or exceed federal specifications TTS-001543A. 

b. Color shall be black to match the other glazing rubber at all metal to glazing joints.
c. Color shall match the frame color (within reason) on joints that are metal to metal.
2 Joints that connect to adjacent building(s).

a. Use an adhesive silicone, GE SilPruf or equal.

b. Color to be black.
E. Glazing shall be as follows. [Select glass or polycarbonate glazing and delete the other]
1. SilverCoat E272 Insulated glass with the following configuration.

a. Outboard light - 1/8” fully tempered clear glass

b. Air space – Stainless steel spacer with dual seals of polyisobutylene/silicone and argon gas
c. Inboard light – Vertical – 1/8” fully tempered clear glass

Roof Area – ¼” HS clear laminated with .030 PVB Film.

d. Performance criteria shall be:
U-factor = .24
Daylight transmission = 72%

Relative heat gain = 

Solar heat gain coefficient= .41
Light to solar gain (LSG) = 
1. Clear Insulated glass with the following configuration.

a. Outboard light - 1/8” fully tempered clear glass

b. Air space – Stainless steel spacer with dual seals of polyisobutylene/silicone and argon gas

c. Inboard light – Vertical – 1/8” fully tempered clear glass

Roof Area – ¼” HS clear laminated with PVB .030 film.

d. Performance criteria shall be:
U-factor = 
Daylight transmission = 
Relative heat gain =
Solar heat gain coefficient= 
1. Low Iron (Ultra Clear) Insulated glass with the following configuration.

a. Outboard light - 1/8” fully tempered clear glass

b. Air space – Stainless steel spacer with dual seals of polyisobutylene/silicone and argon gas

c. Inboard light – Vertical – 1/8” fully tempered clear glass



Roof Area – ¼” HS clear laminated with PVB .030 film.
d. Performance criteria shall be:
U-factor = 
Daylight transmission = 86%

Relative heat gain = 
Solar heat gain coefficient= 
[IF POLYCARBONATE IS DESIRED, DELETE ABOVE SPECIFICATIONS FOR GLASS, THEN SELECT FROM ONE OF THE OPTIONS BELOW AND DELETE THE OTHER.  25MM IS PREFERRED FOR ITS ENERGY PERFORMANCE, 8MM IS USED STRICTLY FOR BUDGETARY CONCERNS]

1. Triple wall 25mm clear polycarbonate glazing by Gallina USA
a. All horizontal edges shall be sealed with sealing and vent tape at appropriate locations.
b. Performance criteria shall be:
U-factor = .34

Daylight transmission = 72%

Solar factor = 78

Shading Coefficient = .75
c. All glazing panels shall have a UV coating on the exterior surface

d. Polycarbonate panels to have a certified fire spread rating of 10 and a certified smoke developed index of 20 as per ASTM-E84-4 testing procedures
                     1. Double wall 8mm clear polycarbonate glazing by Gallina USA.

a) All horizontal edges shall be sealed with sealing and vent tape at appropriate locations
b) Performance criteria shall be:
U-factor = .58

Daylight transmission = 81%

Solar factor = 82

Shading Coefficient = .94

a. All glazing panels shall a UV coating on the exterior surface.

c) Polycarbonate panels to have a certified fire spread rating index of 10 and certified smoke developed index of 20 a per ASTM-E84-4 testing procedures. 

2.03 FRAME FINISH [REFER TO PAGE 5 OF THE DESIGN GUIDE WHEN MAKING YOUR SELECTION FOR THE FRAME FINISH. SELECT ONE, THEN SELECT THE COLOR, THEN DELETE ALL SPECIFICATIONS NOT USED]
A. All visible aluminum extrusions shall have a factory applied, baked, acrylic finish using PPG Duracron and shall adhere to the physical test requirements of AAMA 2603 specifications with a 5 year warranty.

Color selection: [SELECT ONE AND DELETE THE OTHERS]
1. White 

1. Bronze

1. Custom - full range of supplier’s standard color selections, (architects’ choice).
1. Custom - per architect’s selection

A. All visible aluminum extrusions shall have an anodic Class 1 finish of at least 0.7 mil thickness (18 microns) and meet or exceed the specifications outlined in AAMA 611 with a 10 year warranty.
Color selection: [SELECT ONE AND DELETE THE OTHERS]
1. Clear

1. Medium bronze

1. Custom - Full range of supplier’s offerings, (architect’s choice).
A. All visible aluminum extrusions shall have a factory applied, baked-on, 70% PVDF fluoropolymer resin based coating (Fluropon or Fluropon Classic II) as manufactured by the Valspar Corp. Coating shall meet or exceed the AAMA 2605 specification.
Color selection and type: [SELECT ONE AND DELETE THE OTHERS]
1. Fluropon (10 year warranty) - Standard White.
1. Fluropon (10 year warranty) - Standard Bronze.
1. Fluropon 2 coat (10 year warranty) – Color selected from supplier’s standard solid color chart (architect’s choice).
1. Fluropon Classic II 2 coat (10 year warranty) Metallic – Color selected from suppliers standard color chart (architect’s choice).
1. Fluropon 2 coat (10 year warranty) – Custom color to be selected by the architect.

1. Fluropon 3 coat (20 year warranty) - Color to be selected from supplier’s standard color chart (architect’s choice).

1. Fluropon 3 coat (20 year warranty) - Custom color to be selected by architect.

A. All visible aluminum extrusions will be finished utilizing the following two-tone paint scheme. 

1. Interior portion - shall have a factory applied, baked, acrylic finish using PPG Duracron and shall adhere to the physical test requirements of AAMA 2603 specifications with a 5 year warranty.

Color selection: [SELECT ONE AND DELETE THE OTHERS]
a. White 

b. Bronze

2. Exterior portion - shall have a factory applied, baked-on, 70% PVDF fluoropolymer resin based coating (Fluropon or Fluropon Classic II) as manufactured by the Valspar Corp. Coating shall meet or exceed the AAMA 2605 specification.

Color selection and type: [SELECT ONE AND DELETE THE OTHERS]
1. Fluropon (10 year warranty) – Standard White.
1. Fluropon (10 year warranty) – Standard Bronze.
1. Fluropon 2 coat (10 year warranty) – Color selected from supplier’s standard solid color chart (architect’s choice).
1. Fluropon Classic II 2 coat (10 year warranty) Metallic – Color selected from suppliers standard color chart (architect’s choice).

1. Fluropon 2 coat (10 year warranty) – Custom color to be selected by the architect.

1. Fluropon 3 coat (20 year warranty) - Color to be selected from supplier’s standard color chart (architect’s choice).

1. Fluropon 3 coat (20 year warranty) - Custom color to be selected by architect.

B. All finishes of the related equipment as defined in Sec 2.06 of this specification shall be as per the original manufacturer’s specified finish. These finishes may or may not match the greenhouse frame finish. In an effort to preserve the original warranty they will not be painted to match the greenhouse frame.

2.04 FABRICATION












A. All fabrication shall be done according to the final set of approved shop drawings.  Approved shop drawings shall supersede all previous blueprints or documents.

B. All major fabrication shall be performed at the manufacturing location.

C. Manufacturer must be notified prior to any field fabrication or modifications.

D. All welding will comply with the recommendations set forth by the American Welding Society.

E. Perform all work in such a manner that it will meet or exceed industry standards.

F. Dissimilar metals will be separated with suitable materials as required to prevent galvanic action between the metals.

2.05 PRIMARY ACCESSORIES  (Vents and doors manufactured by or for the greenhouse manufacturer) 

A. Side Wall Vents – Supply awning style vents in quantity as shown on the drawings.  Vents to have thermally broken frames and sashes and motorized operation (see sec. 2.06 of this specification). Size to be 36”w x 24”h, glazing shall match glazing in greenhouse and charcoal fiberglass mesh screens.

B. Ridge Vents – Supply awning style vents located at the ridge in a quantity as shown on the drawings. Vents to have thermally broken frames and sashes and motorized operation (see sec. 2.06 of this specification).  Size to be 36”w x 24”h, glazing shall match glazing in greenhouse and charcoal fiberglass mesh screens.

C. Operable Door(s) - Supply and install 3’x 7’ narrow stile commercial grade door as     manufactured by Manko Window Systems (Series 100) with offset pivot hinges and glazing to match greenhouse. MS hook bolt locking device by Adams Rite (1-1/8” maximum throw) with 1” round offset pull handle and push bar. Regent #3354 surface mounted closure. [IF PANIC HARDWARE IS DESIRED DELETE THE MS LOCKING DEVICE BY ADAMS RITE AND REPLACE WITH THE FOLLOWING SPECIFICATION] OPTIONAL PANIC HARDWARE – Rim latching panic devices by First Choice (3700 series).
2.06  MECHANICAL EQUIPMENT provided by the greenhouse manufacturer, manufactured by others.

A. Motorized Operation for Side Wall and Ridge Vents – Each row of vents (side wall and ridge) shall be operated by using Lock’s Scissor Arm Operators and Lock’s Power Drive Motor system. Model and HP rating to be determined by greenhouse manufacturer. Scissor Arm Operators and drive shaft on side wall vents shall be concealed by using Lock’s safety covers. Motors to be controlled by the environmental control system. Rack and pinion systems will not be allowed.

B. Horizontal Air Flow Fans (HAF) – Supply and mount fans as shown on drawings. Fans to be manufactured by Schaefer (Model VT-12PA, 1554 CFM, 115V, wire basket, and hanging kit). Fans to be controlled by the environmental control system. 

C. Heater – Supply and mount heater as shown on drawings. Gas heater to be manufactured by Modine (Hot Dawg series with stainless steel heat exchanger, 115v). Size to be specified by greenhouse manufacturer. Supply LP conversion kit if required. Heater to be controlled by the environmental control system.

D. Shade System – Supply and mount a Power Pull Shade Curtain system as manufactured by Wadsworth Control Systems. Shading to be in roof area only. System to incorporate rack and pinion drive assemblies, stainless steel cable wire, positive seals, and motorized by Wadsworth VC-2000 or VC100A (based on overall vent size) motor drive unit with 1-5/8” drive shaft. Shade material to be XLS Revolux (fire retardant) as manufactured by LS Svensson. Shade percentage to be [Select one] - 54%, 65%, 75%). Shades to be controlled by the environmental control system.
E. Exhaust Fan(s) – Supply and mount exhaust fan(s) as shown on the drawings. Fans to be manufactured by American Coolair (Model AL greenhouse fan) with aluminum sloped housing, shutters, and housing guards. Size to be determined by greenhouse manufacturer. Fans to be controlled by the environmental control system.

F. Air Intake Shutters – Supply and mount motorized air intake shutters as shown on drawings. Shutters shall be manufactured by American Coolair (Model LRW-E) with all aluminum frame and blades, reinforcing brackets and nylon bearings. Size to be appropriate for exhaust fans. Shutters to be controlled by the environmental control system.

[Select one of the following evaporative systems]

G. Evaporative Cooler(s) – Supply and mount evaporative cooler(s) as shown on drawings. Coolers to be manufactured by Champion (Mastercool AS Series) with plastic water reservoir, blower style fan, 2 speed motor and painted galvanized steel cabinet. Size to be determined by greenhouse manufacturer. Cooler to be controlled by the environmental control system and mounted on the exterior of the building.  Greenhouse contractor to supply ductwork through knee wall of greenhouse. General contractor to supply pad on level ground. All wiring and plumbing by others.

[- OR –] (Recommend for large greenhouses in warmer climates)

G. Evaporative PVC Cooling Wall System - System to be manufactured by Amercian Coolair. System to be fully self contained consisting of 4” x 48” evap pads, (length as shown on plans), submersible pump (sized for correct length), PVC drain through and supply line, aluminum cap for supply line, ¾” hose bibb for bleed off, compression coupling, volume control valve, line filter and system flush valve. Recessed tank systems not allowed. System to be installed by the greenhouse manufacturer. Electrical and plumbing supply, by others. System to be controlled by the environmental control system. 

H. Environmental Control System - Supply and mount an advanced level control system in location as shown on drawings. Control system shall be Wadsworth EnviroSTEP model [use -VersiSTEP if your greenhouse has multiple zones and you want only one control system] with pre-wired contactor panel, blueprints, control schematics, wiring layout for installation (installation by electrical contractor), auto power up after power failure, day/night settings, corrosion resistant cabinet (5”x16”x16”) and 100’ temperature cable. System to include Wadsworth Alarm Manager with continuous dialing to four numbers, programmable messages and back up rechargeable battery. Alarm Manager does not require extra phone lines and is FCC approved and registered. System to also include Wadsworth’s Weather Station which is to be mounted at the ridge. Features include wind speed indicators and wind direction, temperature and precipitation sensors, over-ride signaling and 100’ of cable. Weather Station to be wired into control system by electrical contractor.

I. Equipment hook up - All mechanical equipment supplied by the greenhouse supplier shall be mounted in its proper place by the greenhouse contractor. All wiring, control wiring, plumbing water lines, discharge lines, flues, gas lines, etc. will be the responsibility of the general contractor and other licensed sub contractors, including coordination. 

J. Equipment Training – Greenhouse contractor shall supply and coordinate one full day of training after entire system is operational with the owner’s representative. General contractor shall verify system is operational before scheduling the training session.
[Optional equipment to consider in LEVEL IV, make your selections and delete the others, change letters accordingly] 

             ADDITIONAL EQUIPMENT provided by the greenhouse manufacturer.

K. Greenhouse Benches for Growing – Supply and erect aluminum framed benches with stationary legs and “kid friendly” plastic tops. Benches to be 3’ wide with lengths of 3’, 4’ or 6’ long as per drawings.
L. Potting and Working Benches / Tables – Supply and erect workbenches per drawing, Bench to be 30”x 60” stainless steel 4” backsplash, without sink.

M. Built in Misting System – Supply and mount an automatic PVC style misting distribution system for growing table area. Misting system to be manufactured by Phytotronics, Inc. Model  to be the Phytotronics Auto Misting system complete with 24 hr time clock and 30 minute timer, one ½” solenoid value, nylon strainer, 12 misting nozzles, 12 – 18” rises, 50’ of pvc pipe and fittings, one brass hose adapter, one 20’ 2 conductor wire.  Large greenhouses may require additional systems, contact greenhouse contractor for more information.

N. Built in Watering System - Supply and mount an automatic PVC style watering distribution system for growing table area. Watering system to be manufactured by Phytotronics, Inc. Model to be the Trident T3A system complete with 24 hr time clock, 8 programmable on/off options and a complete ½” PVC “watering” plumbing kit for a 50’ single watering zone. Large greenhouses may require additional systems, contact greenhouse contractor for more information.

O. Fertilizing system – Supply a portable fertilizing system as manufactured by Dosatron. System shall include a 14gpm injector (Model D14MZ2) installed on a portable DosaCart with 15 gal. reservoir and quick hook-up kit. 

Note – Some research greenhouse may require a fully automated fertilizing system.  If this is the case please contact Sunshine Rooms to assist in the design and specification of functional automated system.

P. Hot Water “Under Bench” Heating System – Supply a hot water bench heating system under all growing benches. System to be Delta-Fin TF 1 & 2 as manufactured by Delta-T Solutions. System shall be designed by greenhouse manufacturer with support from Delta-T Solutions. System to include all heating tubes, connectors, pipe, RBI boiler with 2-pass heat exchanger and bronze headers and controls. Boiler to be set by greenhouse manufacturer.  Mechanical contractor to plumb, vent and install boiler and heating lines.
Q. Hot Water Exterior Wall Heating System – Supply a hot water heating system around the exterior walls of the greenhouse. System to be Delta-Fin SF high output heating system as manufactured by Delta-T Solutions. Systems to be designed by greenhouse manufacturer with support from Delta-T Solutions. System shall include piping, fin tubes, connectors, RBI boiler with 2-pass heat exchanger and bronze headers and controls. Boiler to be set by greenhouse manufacturer. Mechanical contractor to plumb, vent and connect all heat lines.
R. Grow lights – Supply and hang an HPS (high pressure sodium) lighting system consisting of 600 watt fixtures with 65 degree MIDI reflector as shown on plans and manufactured by P.L. Light Systems.  Electrical wiring and hook up to be the responsibility of the electrical contractor.
Note – Research greenhouse may require a certain percentage of “blue light” which will require the addition of MH (metal halide) lighting fixtures. If this is the case please contact Sunshine Rooms and we will provide a lighting package designed to achieve the owner’s desired results.

PART 3 - EXECUTION

3.01 SITE PREPARATION, UNLOADING, LIFTING  AND INSPECTION

A. General contractor shall direct, supervise, and inspect all site work related to the greenhouse. Site preparation must be in accordance to the final shop drawings provided by greenhouse manufacturer and approved by the architect. Related site work must be level, square, and plumb. All dimensions must be according to the final shop drawings.

B. Greenhouse contractor shall examine surrounding structure and the conditions under which the work is to be performed, and notify the general contractor and architect in writing of any conditions detrimental to the proper and timely completion of job.  Greenhouse installation shall not proceed until any and all unsatisfactory conditions have been corrected in an acceptable manner to the greenhouse contractor.

C. Greenhouse contractor to supply all labor necessary to unload all of its materials from delivery trucks.

D. General contractor, under supervision of the greenhouse contractor will lift greenhouse materials to desired working / installation heights on projects in which the greenhouse is located above ground level. General contractor to accept all associated lifting costs.

E. Greenhouse contractor shall deliver all related operating instructions, maintenance manuals and warranty registration cards to the general contractor prior to the completion of the project.

3.02 INSTALLATION

A. Shall be in accordance with manufacturer’s installation instructions and performed by an installer with at least 5 years of related experience.

B. All work performed will be at or above industry standards.

C. All workmen will follow all safety rules or conditions as set forth by the general contractor

3.03 CLEANING

A. Greenhouse contractor shall keep area neat, clean, and safe at all times.

B. Remove excess sealant compounds from aluminum and glass surfaces promptly after completion.

C. Greenhouse contractor to place all trash and debris into trash receptacle provided by the general contractor.

D. Greenhouse contractor shall clean the entire enclosure one time, at the time of installation. All subsequent cleaning will be the responsibility of the general contractor.

END OF SECTION

